## Slide 1
GridPulse
Edge AI Based Load Forecasting for Distribution Substations
PPT Presentation
Name: Suvedha.M RegNo: 25cs423
Problem • Objective • Algorithm • Advantages • Features
Suvedha.M | RegNo: 25cs423
1

## Slide 2
Problem Statement
Why do we need this system?
Problem
• Electricity load keeps changing at distribution substations.
• Sudden load increases can be difficult to identify quickly.
• Sending data to the cloud can add communication delay.
• A faster local prediction is useful for quick monitoring and response.
Existing Challenge
• Continuous load data needs to be monitored.
• The system should predict the next load value.
• Unusual load changes should be detected.
• The prototype should show the result clearly in a dashboard.
Suvedha.M | RegNo: 25cs423
2

## Slide 3
Objectives
What are we trying to achieve?
01
Predict
Predict the next electricity load using recent load values.
02
Monitor
Monitor multiple distribution substations through one dashboard.
03
Detect
Detect sudden load changes and mark them as anomalies.
04
Process
Perform forecasting locally at the edge.
05
Compare
Show the latency difference between edge and cloud processing.
Suvedha.M | RegNo: 25cs423
3

## Slide 4
What is a Substation in Our Prototype?
A substation is represented as a grid node
In GridPulse
• A substation is a node where electricity load is monitored.
• Each node has its own load pattern.
• The prototype contains five nodes.
• Four are feeder substations and one is the Central Yard hub.
Example Nodes
• A – Riverside: Residential feeder
• B – Foundry District: Industrial feeder
• C – Harbor Point: Mixed-use feeder
• D – Uplands: Residential feeder
• E – Central Yard: Municipal + EV depot
Suvedha.M | RegNo: 25cs423
4

## Slide 5
Algorithm
Holt’s Linear Trend Exponential Smoothing
How the Algorithm Works
1
Input Load
Get the current electricity load.
2
Find Level
Update the current level using the new load.
3
Find Trend
Update whether the load is increasing or decreasing.
4
Forecast
Calculate the next load using level + trend.
5
Compare
Compare actual load with the forecast.
6
Detect
If the difference is large, mark the node as an anomaly.
Flow: Load Data → Level + Trend → Forecast → Compare → Anomaly
Suvedha.M | RegNo: 25cs423
5

## Slide 6
Advantages
Why are we using Edge AI and this algorithm?
Fast
Local processing gives a quick response.
Low Latency
No need to wait for a cloud round trip.
Lightweight
The forecasting model uses very little memory.
Simple
Holt’s method is easy to implement and update.
Anomaly Detection
Sudden load changes can be flagged locally.
Real-time Monitoring
The dashboard continuously updates the load and forecast.
Suvedha.M | RegNo: 25cs423
6

## Slide 7
Conclusion & Future Scope
Final summary
Conclusion
• GridPulse predicts electricity load at distribution substations.
• It uses a lightweight Holt’s Linear Trend algorithm.
• It detects abnormal load changes locally.
• It provides a simple interactive monitoring dashboard.
• The prototype demonstrates the advantage of Edge AI.
Future Scope
• Connect real smart-meter or RTU data.
• Test the algorithm using real electricity datasets.
• Improve forecasting accuracy with more advanced models.
• Deploy the model on real low-power edge hardware.
• Connect anomaly alerts to real operational systems.
Thank You
Suvedha.M | RegNo: 25cs423
7